## Instructions
About the EarthCraft Multifamily Renovation Worksheet
Objective
The EarthCraft Multifamily Renovation Worksheet is the primary tool used to show compliance under the EarthCraft Multifamily Renovation program. The most recent version of the program worksheet should be downloaded from the EarthCraft website prior to the project specific EarthCraft Design Review being held.
Instructions
The project team must collectively complete an EarthCraft Multifamily Renovation worksheet to show that the project will qualify for certification. The project team analyzes the project prior to construction and selects the credits that they plan to achieve by placing the appropriate score next to each point value. The EarthCraft Technical Advisor reviews the worksheet at the Design Review, Pre-Drywall Inspections, and Final Inspection to clarify any questions that may arise during implementation, collect the required documentation (varies per line item), and verify specific measures (varies per line item).
Legend
Program Verification
The EarthCraft Multifamily Renovation Worksheet indicates the status of all line items through the following columns:
|  | n | Points
|  |  | • | This indicates the numbers of points that may be earned for each line item
|  |  | • | Line items showing no points are indicated as “-“ which indicates pre-requisites of the program
|  | n | Planned
|  |  | • | The builder, in consultation with the EarthCraft Technical Advisor, will indicate which line items they plan to achieve by imputing the line items point value in this column. Once an item is indicated with a point value, the cell will turn green to indicate the project’s intent to satisfy the line item’s requirements. If the cell turns black, it indicates that an incorrect point value has been placed in that cell; Submitted worksheets with any black cells will not be accepted.
|  | n | Status
|  |  | • | The EarthCraft Technical Advisor, in consultation with the builder, will indicate which line items have been achieved at the Pre-Drywall and Final Inspections using the following designations:
|  |  |  | ° | Y | Yes when compliant with program standards (cell turns green)
|  |  |  | ° | N | Not compliant with program standards (cell turns red)
|  |  |  | ° | VF | Verify at Final (cell turns yellow)*
*This designation may only be used at the Pre-Drywall Inspection
|  |  |  | ° | N/A | Not applicable (turns gray)
|  |  |  | ° | AD | Additional documentation required (cell turns purple)
Program Requirements
The EarthCraft Multifamily Renovation Worksheet indicates required line items using headers to designate that all the items under that heading are either:
|  | n | Required on all projects
|  |  | • | Line items under this heading are pre-requisites of the program for all projects
|  | n | Required on "text varies"
|  |  | • | Line items under this heading are required on projects that meet the specifics outlined in the heading (in place of "text varies")
|  | n | Optional on all projects
|  |  | • | Line items under this heading are optional on all projects
Note: All required items listed as N/A must include a description in the notes column as to why the item is not applicable to the project. An acceptable us of N/A includes measures that are not part of the renovation scope of work.

## Cover Sheet
Project Name:
Builder Company: |  | Building Address:
Contact: |  | City, State:
Phone: |  | Zip Code:
Technical Advisor: |  | Technical Advisor Company:
Permit Date: |  | Pre-demo Inspection Date:
Design Review Date: |  | Final Inspection Date:
ECMFR Kick Off Date:
| EarthCraft Program Levels: |  | Certified | Gold | Platinum
|  |  | 75 | 100 | 125
| Project Points |  |  | Project Score
|  |  |  | Planned | Actual
| SITE PLANNING (SP) |  |  | 0 | 0
| CONSTRUCTION WASTE MANAGEMENT (CW) |  |  | 0 | 0
| RESOURCE EFFICIENCY (RE) |  |  | 0 | 0
| DURABILITY AND MOISTURE MANAGEMENT (DU) |  |  | 0 | 0
| INDOOR AIR QUALITY (IAQ) |  |  | 0 | 0
| HIGH PERFORMANCE BUILDING ENVELOPE (BE) |  |  | 0 | 0
| ENERGY EFFICIENT SYSTEMS (ES) |  |  | 0 | 0
| WATER EFFICIENCY (WE) |  |  | 0 | 0
| EDUCATION AND OPERATIONS (EO) |  |  | 0 | 0
| INNOVATION (IN) |  |  | 0 | 0
| Totals |  |  | 0 | 0
| Additions Total |  |  | 0 | 0
| Total Project Points |  |  | 0 | 0
EarthCraft Multifamily Renovation Level:
EarthCraft Multifamily Renovation (ECMF-R) is a builder led certification program that utilizes third-party program verification. In consideration of EarthCraft Multifamily Renovation certification, each project will be evaluated based on full compliance with the following: I. Submission of a field verified worksheet with 75 points (Certified), 100 points (Gold), or 125 points (Platinum) depending on the level of certification sought with all worksheet requirements achieved specific to the certification tier; II. Project design and specification: A. Certified tier projects must achieve a HERS Rating Index illustrating a ≥ 20% improvement over the pre-renovation HERS Rating Index, meeting all program requirements. B. Gold and Platinum tier projects must fully comply with all HERS Rating Index requirements, meeting all program requirements. C. All renovation projects that are constructing additions which add additional square footage to the existing unit's footprint must achieve ≥ 15 points on the additions checklist D. Projects at all tiers must meet or exceed all 2015 International Energy Conservation Code minimum requirements and applicable state amendments; for all disturbed building assemblies E. Projects at all tiers must submit Manual J designs and fresh air ventilation designs reaching current program standards, install heating and air and ventilation matching the submitted designs, and achieve all additional EarthCraft Multifamily Renovation program requirements; III. Each project must follow the process as outlined in the EarthCraft Multifamily Renovation Manual in order to be eligible for certification completing the following: A. An initial design review; B. A construction kick off meeting; C. All air sealing and final inspection requirements as outlined in the current worksheet and manual; D. Submit necessary documentation to confirm program requirements and points tracked in the EarthCraft Multifamily Renovation worksheet IV. Any practices or elements outlined as requirements by EarthCraft and/or the 2015 IECC, must be incorporated into non-residential areas of the project and within any stand alone buildings (e.g. clubhouse, stairwells, common areas, corridors, storage areas, etc) V. Any points tracked within this worksheet must be incorporated into non-residential areas of the project and within any stand alone buildings where applicable (ie, ventilation, windows, lighting, water efficient appliances, insulation, combustion zones, etc) VI. Any discrepancies between code requirements or EarthCraft, will result in the more stringent requirement being enforced (special consideration will be given to certain code restrictions as approved by EarthCraft)
General Contractor - By accepting the EarthCraft Multifamily Renovation certification, I pledge that this project has been constructed to the standards listed within this EarthCraft Worksheet.
EarthCraft Builder Signature |  | Printed Name |  |  |  | Date
EarthCraft Technical Advisor Signature |  | Printed Name |  |  |  | Date
EarthCraft Administrator Signature |  | Printed Name |  |  |  | Date

## Worksheet
|  | Project Name: | 0
EarthCraft Multifamily Renovation Worksheet |  |  |  | Points | Planned | Confirmed | Documentation | Notes
SITE PLANNING (SP)
SP 1: SITE DESIGN
OPTIONAL AT ALL LEVELS
1 | Create new or enhance existing pedestrian access to: |  |  | Select One:
| 1 | Walking distance to bus line (≤1/2 mile)
|  | A. | Existing | 2
|  | B. | Planned | 1
| 2 | Walking distance to rail/rapid transit (≤1/2 mile) |  | Select One:
|  | A. | Existing | 3
|  | B. | Planned | 1
| 3 | Biking distance to bike path (≤1/2 mile) |  | Select One:
|  | A. | Existing | 2
|  | B. | Planned | 1
| 4 | Walking distance to public open space or greenspace ≥3/4 acre in size (≤1/2 mile) |  | Select One:
|  | A. Existing |  | 2
|  | B. Planned |  | 1
| 5 | Walking distance to mixed uses (≤1/2 mile) |  | Select One:
|  | A. | 10 or more mixed uses | 2
|  | B. | 6 or more mixed uses | 1
SP 1.1 | Reduce heat island effect: |  |  | Select One:
| A. | Shade 40% of hardscapes on site |  | 2
| B. | Shade/SRI compliance for 60% of hardscapes on site |  | 3
SP 1.2 | Install new permanent stormwater control: |  |  | Select One:
| A. | ≥25% of onsite impervious surface areas |  | 3
| B. | ≥50% of onsite impervious surface areas |  | 4
| C. | ≥75% of onsite impervious surface areas |  | 5
SP 1.3 | Newly installed street trees are ≤ 40' on center at minimum |  |  | 2
SP 1.4 | Improved connectivity to adjacent sites: |  |  | Select all that apply:
| 1 | New vehicular access (2+ connections) |  | 2
| 2 | New dedicated pedestrian and bike access |  | 2
SP 1.5 | Community Gardens |  |  | Select one:
| A. | Enhance existing gardens |  | 1
| B. | Create new community garden with planting area larger than or equal to the mean size of all residential units |  | 2
SP 1.6 | Parking reduced below local ordinance (1:1 ratio) |  |  | 2
SP 1.7 | Reduction of impervious surfaces by: |  |  | Select one:
| A. | ≥25% of onsite impervious surface areas |  | 3
| B. | ≥50% of onsite impervious surface areas |  | 4
| C. | ≥75% of onsite impervious surface areas |  | 5
SP 1.8 | Reduce light pollution: all exterior lights full cutoff |  |  | 3
SP 1.9 | Outdoor community gathering space |  |  | Select one:
| A. | Enhance existing outdoor gathering space |  | 1
| B. | Create new outdoor community gathering space |  | 2
SP 2: SITE PREPARATION AND PRESERVATION MEASURES
REQUIRED AT ALL LEVELS
2 | Workshop on erosion and sediment control |  |  | - | -
2.1 | Site assessment identifying all greenspace and tree save potential |  |  | - | -
2.2 | If major land disturbance occurring, erosion and sedimentation control plan |  |  | - | -
2.3 | Do not install invasive plants on site |  |  | - | -
2.4 | Comply with all federal, state, and local government erosion control and tree protection measures |  |  | - | -
2.5 | Phase I environmental testing and remediation plan (if applicable) |  |  | - | -
2.6 | On-call personnel designated for erosion control during rain events |  |  | - | -
2.7 | Downstream water quality testing (if applicable) |  |  | - | -
2.8 | Road/vehicle cleaning protocols posted and enforced (if applicable) |  |  | - | -
OPTIONAL AT ALL LEVELS
2.9 | Tree preservation and protection measures employed on site |  |  | 2
SP 2.10 | Enhance total tree count (12 trees per acre; trees ≥2" diameter) |  |  | 2
SP 2.11 | Landscape plan includes local, endangered plant species (≥50% of total plantings) |  |  | 1
SP 2.12 | Landscape plan includes species that serve as pollinators (≥25% of total plantings) |  |  | 1
SP 3: ALTERNATIVE TRANSPORTATION ACCOMODATIONS
OPTIONAL AT ALL LEVELS
3 | Onsite community bike storage: |  |  | Select all that apply:
| 1 | New outdoor racks to meet ≥10% of total residential units |  | 1
| 2 | New covered bike storage facility with racks based on ≥10% of total residential units |  | 2
3.1 | Electric vehicle charging stations: |  |  | Select one:
| A. | Total spaces provided are ≥1/2 of the total ADA spaces required for the total development |  | 2
| B. | Total spaces provided are ≥the total ADA spaces required for the total development |  | 4
SP 3.2 | 24-hour resident access to business center |  |  | 1
SP 3.3 | Public transportation amenities |  |  | Select all that apply:
| 1 | Provide a covered seating area at an existing, regularly scheduled bus/mass transit service line |  | 2
| 2 | At least one new covered bus stop at an existing, regularly scheduled bus/mass transit service line |  | 3
SITE PLANNING TOTAL |  |  |  |  | 0 | 0
CONSTRUCTION WASTE MANAGEMENT (CW)
REQUIRED AT ALL LEVELS
1 | No construction materials burned or buried on site |  |  | - | -
1.1 | Only state-approved landfills may be utilized |  |  | - | -
OPTIONAL AT ALL LEVELS
CW 1.2 | Donation of salvageable material for reuse (estimated $10,000 per job) |  |  | 2
CW 1.3 | Post waste management plan and divert 75% from landfill of: |  |  | Select all that apply:
| 1 | Wood |  | 2
| 2 | Cardboard |  | 1
| 3 | Metal (including beverage containers) |  | 1
| 4 | Drywall (recycle or grind and spread on site) |  | 2
| 5 | Plastic (including beverage containers) |  | 1
| 6 | Shingles |  | 2
CONSTRUCTION WASTE MANAGEMENT TOTAL |  |  |  |  | 0 | 0
RESOURCE EFFICIENCY (RE)
RE 1: LOCAL, RECYCLED AND/OR NATURAL CONTENT MATERIALS
OPTIONAL AT ALL LEVELS
RE 1.1 | Sustainably harvested lumber: |  |  | Select all that apply:
| 1 | Forest Stewardship Council (FSC) certified lumber (≥50%) |  | 2
| 2 | Lumber/millwork: Use no tropical wood |  | 2
RE 1.2 | Use building materials extracted, processed, and manufactured ≤500 miles of site (1 point per product maximum 5 points) |  |  | 1-5
RE 1.3 | Exterior cladding and trim (≥25% recycled content material on ≥75% area) |  |  | 2
RE 1.4 | Insulation ≥25% recycled content material and SCS certified |  |  | 1
RE 1.5 | Flooring: |  |  | Select all that apply:
| 1 | Cork, natural linoleum, sealed concrete or bamboo flooring (≥20% of total floor area) |  | 2
| 2 | Recycled content tiles (≥30% recycled content material on 100% of tile floor area) |  | 2
| 3 | Carpet (≥50% recycled content material on ≥50% of all carpeted floor area) |  | 1
| 4 | Biodegradable carpet and backing (≥50% of all carpeted floor area) |  | 2
RE 1.6 | Engineered trim: |  |  | Select all that apply:
| 1 | Interior (≥80%) |  | 1
| 2 | Exterior, including soffit, fascia and trim (≥75%) |  | 1
RE 1.7 | Roofing material (≥50% recycled content material on ≥90% area) |  |  | 2
RESOURCE EFFICIENCY TOTAL |  |  |  |  | 0 | 0
DURABILITY AND MOISTURE MANAGEMENT (DU)
DU 1: PRODUCTS AND APPLICATIONS
REQUIRED AT ALL LEVELS
DU 1.0 | Install drainage plane per manufacturer's specifications (if cladding is removed) |  |  | - | -
DU 1.1 | Integrate new drainage plane with: |  |  | All must comply:
| 1 | Window and door pan flashing at sills and side flashing |  | - | -
| 2 | Window and door head/top flashing |  | - | -
| 3 | Exterior wall cladding |  | - | -
DU 1.2 | Double layer of building paper or housewrap behind newly installed cementitious stucco, stone veneer or synthetic stone veneer on framed walls |  |  | - | -
DU 1.3 | Roof gutters discharge water ≥5' from foundation |  |  | - | -
DU 1.4 | Flashing: |  |  | All must comply:
| 1 | Self-sealing bituminous membrane or equivalent at valleys and roof deck penetrations when existing roof is repaired/replaced |  | - | -
| 2 | Step and kick-out flashing at wall/roof and wall/porch intersections, flashing ≥4” on wall surface and integrated with wall and roof/deck/porch drainage planes |  | - | -
DU 1.5 | Maintain 2" clearance between wall siding and roof surface |  |  | - | -
DU 1.6 | Install level air conditioner condensing unit pad |  |  | - | -
DU 1.7 | Roof drip edge with ≥ 1/4" overhang |  |  | - | -
DU 1.8 | Drain pan for new/replacement water heaters located in above-grade units. Floor drain installed for all ground floor and/or below-grade units. |  |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
DU 1.9 | Enclosed crawlspace, if applicable to design |  |  | 2
DU 1.10 | Moisture-resistant wallboard in kitchen, bathroom(s), and laundry, if applicable to project scope |  |  | 2
OPTIONAL AT ALL LEVELS
DU 1.11 | Vented rain screen behind exterior cladding |  |  | 3
DU 1.12 | Flashing at bottom of exterior walls integrated with foundation drainage system |  |  | 2
DU 1.13 | Alternative termite treatment with no soil pretreatment |  |  | 2
DU 1.14 | Non-toxic pest treatment: |  |  | Select all that apply:
| 1 | All lumber in contact with foundation (≥36" above foundation) |  | 1
| 2 | All lumber |  | 2
| 3 | Mold inhibitor with warranty applied to all lumber |  | 1
DU 1.15 | Exterior cladding (≥75% facade) with 30-year warranty |  |  | 2
DU 1.16 | Windows, doors and skylights with ≥25-year warranty |  |  | 1
DU 1.18 | Roofing warranty: |  |  | Select one:
| A. | ≥40-year |  | 1
| B. | ≥50-year |  | 2
DU 1.19 | Drain pan for clothes washers |  |  | 1
DU 2: MOISTURE MANAGEMENT
REQUIRED AT ALL LEVELS
DU 2.0 | 100% coverage of ≥12mil vapor barrier in crawlspaces |  |  | - | -
DU 2.1 | Patio slabs, walks and driveways sloped ≥1/4” per 1’ away from home for ≥10’ or to the edge of the surface, whichever is less |  |  | - | -
DU 2.2 | Vapor barriers installed under slabs (if applicable) and crawlspaces only and not on vertical surfaces |  |  | - | -
DU 2.3 | Final site grade sloped ≥1/2“ per 1’ away from foundation for ≥10’ or to the edge of the site, whichever is less |  |  | - | -
DU 2.4 | Existing building materials removed/cleaned within 2' minimum radius of water damage |  |  | - | -
DU 2.5 | Existing vapor barriers on vertical surfaces removed or remediated based on EarthCraft approval |  |  | - | -
DU 2.6 | Drainage board and damp proofing for below-grade walls |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
DU 2.7 | If installed, drain at outside perimeter edge of footing surrounded with 6" clean gravel and fabric filter |  |  | 2
DU 2.8 | Dedicated dehumidification system in basement and/or closed crawlspace areas |  |  | 2
DU 2.9 | Design for or install additional dehumidification: |  |  | Select one:
| A. | Rough-in electrical and plumbing for dehumidifier |  | 2
| B. | Install whole-unit ENERGY STAR dehumidifier |  | 5
OPTIONAL AT ALL LEVELS
DU 2.10 | Humidistat or thermidistat used with whole-house variable speed cooling system |  |  | 2
DURABILITY AND MOISTURE MANAGEMENT TOTAL |  |  |  |  | 0 | 0
INDOOR AIR QUALITY (IAQ)
IAQ 1: COMBUSTION SAFETY
REQUIRED AT ALL LEVELS
1 | No unvented combustion fireplaces, appliances or space heaters |  |  | - | -
1.1 | All gas furnaces are sealed-combustion appliances |  |  | - | -
1.2 | Sealed-combustion, power vent gas water heater(s), or isolate gas water heater(s) from conditioned space |  |  | - | -
IAQ 1.3 | All fireplaces have outdoor combustion air supply and gasketed doors |  |  | - | -
1.4 | Carbon monoxide detector(s) in all residential units |  |  | - | -
IAQ 1.5 | Combustion Appliance Zone test performed on sample of existing occupied units with gas appliances |  |  | - | -
IAQ 2: INDOOR POLLUTANT CONTROL
REQUIRED AT ALL LEVELS
2 | Protect HVAC supply ductwork in floors and open returns until floor and wall finishing is complete |  |  | - | -
2.1 | Filter is easily accessible for property maintenance |  |  | - | -
2.2 | Provide rodent and corrosion proof screens with mesh ≤0.5" for all openings not fully sealed or caulked |  |  | - | -
2.3 | All interior paints are ≤ 50g/L VOC content |  |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
IAQ 2.4 | GREENGUARD Certified materials: |  |  | Select all that apply:
| 1 | Interior paints |  | 1
| 2 | Stains and finishes on wood floors |  | 2
| 3 | Sealants and adhesives |  | 2
| 4 | Carpet |  | 1
| 5 | Carpet pad |  | 1
| 6 | Carpet pad adhesive |  | 2
| 7 | Insulation |  | 2
| 8 | Kitchen and bathroom cabinets |  | 1
| 9 | Laminate or wood composite countertops |  | 1
IAQ 2.5 | Protect HVAC ductwork in ceiling until construction is completed |  |  | 2
IAQ 2.6 | Protect all bath fans until floor/wall finishing is complete |  |  | 1
OPTIONAL AT ALL LEVELS
IAQ 2.7 | No added urea-formaldehyde: |  |  | Select all that apply
| 1 | Subfloor |  | 1
| 2 | Insulation |  | 1
| 3 | Kitchen and bathroom cabinets |  | 1
| 4 | Laminate or wood composite countertops |  | 1
| 5 | Permanently installed wood shelving |  | 1
IAQ 2.8 | GREENGUARD Gold Certified materials: |  |  | Select all that apply
| 1 | Interior paints |  | 2
| 2 | Stains and finishes on wood floors |  | 3
| 3 | Sealants and adhesives |  | 3
| 4 | Carpet |  | 2
| 5 | Carpet pad |  | 2
| 6 | Carpet pad adhesive |  | 3
| 7 | Insulation |  | 3
| 8 | Kitchen and bathroom cabinets |  | 2
| 9 | Laminate or wood composite countertops |  | 2
IAQ 2.9 | Seal all particle board surfaces in house with water-based sealant |  |  | 1
IAQ 2.10 | No carpet in all units |  |  | 3
IAQ 2.11 | Limit carpet installation |  |  | Select all that apply
| 1 | In main living area of all units |  | 1
| 2 | Entire unit for below grade units |  | 2
IAQ 2.12 | Permanent walk-off mats installed at each building entry |  |  | 1
IAQ 2.13 | Flush units before occupancy |  |  | 1
INDOOR AIR QUALITY TOTAL |  |  |  |  | 0 | 0
HIGH PERFORMANCE BUILDING ENVELOPE (BE)
REQUIRED AT ALL LEVELS
BE 1: ENERGY EFFICIENT DESIGN
1 | Components exposed during construction updated to meet IECC adopted by jurisdiction plus applicable state amendments applies |  |  | - | -
1.1 | Energy efficient building design based on energy modeling: |  |  | Select one:
| A. | Low- and Mid-Rise Multifamily (choose one):
|  | A. | Unit-level energy modeling shows a ≥ 20% reduction in annual energy consumption compared to existing conditions | - | -
|  | B. | Building-level energy modeling demonstrates ≥20% savings above existing baseline conditions | - | -
| B. | High-Rise Multifamily: |  | - | -
Building-level energy modeling demonstrates ≥20% savings above existing baseline conditions
| C. | Adaptive Reuse |  | - | -
If project is not required to meet local or state historic preservation guidelines, select energy performance pathway from options A or B above.
Historic adaptive reuse projects shall follow the EarthCraft Sustainable Preservation program worksheet available on www.earthcraft.org
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
BE 1.2 | Advanced energy consumption modeling: |  |  | Select one:
| A. | Low- and Mid-Rise Multifamily (choose one):
|  | A. | Unit-level energy modeling shows a ≥30% reduction in annual energy consumption compared to existing conditions | 5
|  | B. | Building-level energy modeling demonstrates ≥30% reduction in annual energy consumption compared to existing conditions
| B. | High-Rise Multifamily: |  | 5
Building-level energy modeling demonstrates ≥30% reduction in annual energy consumption compared to existing conditions
| C. | Adaptive Reuse |  | - | - | -
If project is not required to meet local or state historic preservation guidelines, select energy performance pathway from options A or B above.
Historic adaptive reuse projects shall follow the EarthCraft Sustainable Preservation program worksheet available on www.earthcraft.org
OPTIONAL AT ALL LEVELS
BE 1.3 | Unit-level energy modeling or building level energy modeling demonstrates ≥ 40% reduction in annual energy consumption compared to existing conditions |  |  | 10
BE 2: AIR SEALING MEASURES
REQUIRED AT ALL LEVELS
BE 2.0 | Seal bottom plates to subfloor or foundation for entire unit envelope in all areas where subfloor is exposed during construction |  |  | - | -
BE 2.1 | Block and seal all accessible joist cavities and areas exposed during construction: |  |  | All must comply:
| 1 | Above attached garage walls |  | - | -
| 2 | Above supporting walls at cantilevered floors |  | - | -
| 3 | Under attic knee walls |  | - | -
| 4 | Between units and corridors |  | - | -
BE 2.2 | Block and seal all accessible cavities and changes in ceiling height and areas exposed during construction |  |  | - | -
BE 2.3 | Install blocking and baffles at insulated and vented vaulted ceiling |  |  | - | -
BE 2.4 | Seal gaps larger than 1/4 inch at residence exterior walls, ceilings, and floors: |  |  | All must comply:
| 1 | Top and bottom plates |  | - | -
| 2 | Band and rim joists |  | - | -
| 3 | Subfloor |  | - | -
| 4 | Exterior sheathing |  | - | -
| 5 | Walls and ceilings in attached garages |  | - | -
| 6 | Drywall penetrations in insulated ceilings and walls |  | - | -
BE 2.5 | Verify air sealing of accessible penetrations and penetrations exposed or created through construction at specific locations: |  |  | All must comply:
| 1 | Shower and tub drains and all plumbing penetrations through unit envelope and/or framing |  | - | -
| 2 | Electrical penetrations through unit envelope and/or framing
| 2 | HVAC refrigerant lines, ductwork, supply and/or return boots sealed to subfloor or drywall (floor, walls, and/or ceilings) |  | - | -
| 3 | Window and door rough openings |  | - | -
| 4 | All drywall penetrations in common walls between attached units |  | - | -
| 5 | Exhaust fans at drywall |  | - | -
| 6 | Attic pull-down stairs, scuttle holes and knee wall doors |  | - | -
| 7 | Chases |  | - | -
BE 2.6 | Install rigid air barriers at all accessible areas and areas exposed by construction: |  |  | All must comply:
| 1 | Behind tubs and showers on insulated walls |  | - | -
| 2 | At attic knee wall on attic-side (including skylight shafts) |  | - | -
| 3 | At chases in contact with the building envelope (including fireplace and HVAC chases) |  | - | -
| 4 | Along staircases on insulated walls |  | - | -
| 5 | Along porch roofs |  | - | -
BE 2.7 | Install weather-stripping at: |  |  | All must comply:
| 1 | All exterior doors |  | - | -
| 2 | Attic knee wall doors, scuttle holes, and pull down stairs located within conditioned space |  | - | -
BE 2.8 | All new recessed can lights must be air tight and gasketed; IC-rated in insulated ceilings |  |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
BE 2.9 | Gypcrete on all framed floors separating unit envelopes in all accessible areas and areas with framing and subfloor exposed during construction |  |  | 4
BE 2.10 | Seal top plate to drywall at the attic level or insulated roofline |  |  | 2
OPTIONAL AT ALL LEVELS
BE 2.11 | Seal all penetrations at unit envelope (unit compartmentalization) |  |  | 4
BE 2.12 | Two pour application of gypcrete to include areas blocked by drywall |  |  | 1
BE 2.13 | Replace existing non-ICAT rated can lights with ICAT rated |  |  | 2
BE 2.14 | No recessed lighting installed in insulated ceilings |  |  | 1
BE 3: BLOWER DOOR TEST
REQUIRED AT ALL LEVELS
3 | Envelope Leakage is ≤ 7 ACH50 or ≤0.35 ELR, or reduce infiltration by >40% |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
3.1 | Envelope Leakage is ≤ 5 ACH50 or ≤0.30 ELR |  |  | 7
OPTIONAL AT ALL LEVELS
3.2 | Envelope Leakage is ≤ 3 ACH50 or ≤0.25 ELR |  |  | 10
BE 4: INSULATION
REQUIRED AT ALL LEVELS - IF EXPOSED OR INCLUDED IN PROJECT SCOPE
4 | ANSI/RESNET/ICC 301-2014 Addendum F-2018 Normative Appendix A Grade I insulation installation quality based on insulation product used (floors, walls, and ceilings) |  |  | - | -
4.1 | If using loose-fill attic insulation: insulation certificate posted at access door and insulation rulers installed 1 per 300 ft2 |  |  | - | -
4.2 | Fibrous batt insulation is unfaced/friction fit |  |  | - | -
BE 4.3 | Exterior Wall Insulation: |  |  | All must comply:
| 1 | Exterior walls and band joists ≥ R-13 |  | - | -
| 2 | Fireplace chases on exterior walls ≥ R-13 |  | - | -
| 3 | Foundation walls: Climate Zone 1/2/3 ≥ R-5 continuous or ≥ R-13 cavity Climate Zone 4/5 ≥ R-10 continuous or ≥ R-13 cavity |  | - | -
BE 4.4 | Ceiling Insulation: |  |  | All must comply:
| 1 | Unconditioned Attics: Climate Zone 1/2/3 ≥R-38; Climate Zone 4/5 ≥R-49 |  | - | -
| 2 | Vaulted/flat, unvented attic roofline with air impermeable material: Climate Zone 1/2/3 ≥R-21 Climate Zone 4/5 ≥R-25 |  | - | -
| 3 | Continuous exterior insulation above roof decking Climate Zone 1/2/3 ≥R-25; Climate Zone 4/5 ≥R-30 |  | - | -
4.5 | Unconditioned attic(s): |  |  | All must comply:
| 1 | Install wind baffles at eaves in every vented bay, or equivalent air barrier at edge of ceiling |  | - | -
| 2 | Attic platforms allow for full-depth insulation below |  | - | -
| 3 | When installing loose-fill attic insulation, installation certificate and rulers must be installed |  | - | -
4.6 | Attic knee wall(s): |  |  | All must comply:
| 1 | Doors: Climate Zone 1/2/3/4 ≥ R-18 |  | - | -
| 2 | Insulation and attic-side air barrier: Climate Zone 1/2/3/4 ≥ R-18 |  | - | -
4.7 | Attic pull-down/ scuttle hole located within conditioned space: Climate Zone 1/2/3 ≥ R-38, Climate Zone 4/5 ≥ R-49 |  |  | - | -
4.8 | Floors: |  |  | All must comply:
| 1 | Framed ≥ R-19 |  | - | -
| 2 | Cantilevered ≥ R-30 |  | - | -
| 3 | Podium/Elevated Slabs ≥ R-19 |  | - | -
BE 4.9 | Steel framed buildings require thermal break ≥ R-7.5 if exterior cladding removed |  |  | - | -
OPTIONAL AT ALL LEVELS
BE 4.10 | Slab edge insulation: Climate Zone 2/3 ≥ R-5, Climate Zone 4/5 ≥ R-10 |  |  | 3
BE 4.11 | Corners ≥R-6 |  |  | 3
BE 4.12 | Headers ≥R-5 |  |  | 3
BE 4.14 | Improved exterior wall insulation R-value: |  |  | Select One
| A. | Wall cavity R-15 and R-3 continuous |  | 10
| B. | Wall cavity R-13 and R-5 continuous
| C. | Wall cavity ≥R-20 insulation
BE 4.15 | Improved ceiling/roof insulation |  |  | Select One
| A. | Ceilings (flat and sloped) Climate Zone 1/2/3 ≥R-49; Climate Zone 4/5 ≥R-60 |  | 4
| B. | Continuous exterior insulation above roof decking Climate Zone 1/2/3/4/5 >R-30
BE 4.16 | Insulate with spray foam insulation: |  |  | Select all that apply:
| 1 | Exterior band areas |  | 2
| 2 | Exterior walls including band area |  | 3
| 3 | Floor system over crawlspace or basement |  | 2
| 4 | Roofline/underside of roof decking >R-25 |  | 3
| 5 | Roofline/underside of roof decking ≥R-30 |  | 4
BE 4.17 | Exterior wall cavity insulation ≥R-15 |  |  | 2
BE 4.18 | Continuous Exterior Insulation: |  |  | Select one:
| A. | R-10 |  | 4
| B. | R-15 |  | 5
BE 4.19 | Insulate basement wall: |  |  | Select one:
| A. | Frame and insulate basement walls ≥R-13 |  | 1
| B. | Insulate basement walls with continuous insulation ≥R-5 |  | 2
BE 4.20 | Attic knee wall insulated ≥R-22 with continuous insulated air barrier on attic side |  |  | 2
BE 5: WINDOWS
REQUIRED AT ALL LEVELS WHERE INCLUDED IN PROJECT SCOPE
BE 5.0 | Exterior door U-factor: |  |  | All must comply:
| 1 | Opaque door: U-factor ≤0.17 |  | - | -
| 2 | Door with ≤50% glass: U-factor ≤0.25; SHGC ≤0.25 |  | - | -
| 3 | Door with >50% glass: U-factor ≤0.30; SHGC ≤0.25 |  | - | -
BE 5.1 | Window U-factor and SHGC: |  |  | All must comply:
| 1 | U-factor: Climate Zone 1/2 ≤0.35, Climate Zone 3/4/5 ≤0.30 |  | - | -
| 2 | SHGC ≤0.25 |  | - | -
BE 5.2 | Skylight U-factor and SHGC: |  |  | All must comply:
| 1 | U-factor: Climate Zone 1/2 ≤0.65, Climate Zone 3/4/5≤0.55 |  | - | -
| 2 | SHGC ≤0.25 |  | - | -
BE 5.3 | NFRC certified doors, windows, and skylights with label |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
BE 5.4 | Door U-factor: |  |  | Select all that apply:
| 1 | Opaque door: U-factor ≤0.12 |  | 1
| 2 | Door with ≤50% glass: U-factor ≤0.20; SHGC ≤0.20 |  | 2
| 3 | Door with >50% glass: U-factor ≤0.25; SHGC ≤0.20 |  | 2
BE 5.5 | Window U-factor and SHGC: |  |  | Select all that apply:
| 1 | U-factor: Climate Zone 1/2 ≤0.30, Climate Zone 3/4/5 ≤0.28 |  | 2
| 2 | SHGC: ≤0.23 |  | 3
BE 5.6 | Skylight U-factor and SHGC: |  |  | Select all that apply:
| 1 | U-factor: Climate Zone 1/2 ≤0.55, Climate Zone 3/4/5 ≤0.53 |  | 2
| 2 | SHGC: ≤0.23 |  | 3
OPTIONAL AT ALL LEVELS
BE 5.7 | ENERGY STAR Door U-factor and SHGC: |  |  | Select all that apply:
| 1 | Opaque door: U-factor: ≤0.12 |  | 2
| 2 | Door with ≤50% glass: U-factor ≤0.20; SHGC ≤0.20 |  | 3
| 2 | Door with >50% glass: U-factor ≤0.25; SHGC ≤0.20 |  | 3
BE 5.8 | Window U-factor and SHGC: |  |  | Select all that apply:
| 1 | U-factor: ≤0.25 |  | 3
| 2 | SHGC: ≤0.20 |  | 4
BE 5.9 | Skylight U-factor and SHGC: |  |  | Select all that apply:
| 1 | U-factor: ≤0.50 |  | 3
| 2 | SHGC: ≤0.20 |  | 4
BE 5.10 | Minimum 1.5 foot overhangs over ≥80% of Southern facing windows |  |  | 1
BE 5.11 | Solar shade screens: |  |  | Select One:
| A. | East and West oriented windows |  | 2
| B. | All windows |  | 3
BE 5: ROOF
OPTIONAL AT ALL LEVELS
6 | If HVAC ducts are in unconditioned attic: |  |  | Select One:
| A. | Attic-side radiant barrier |  | 2
| B. | Cool Roof Rating Council qualified roof (≥75% of total roof area) |  | 2
HIGH PERFORMANCE BUILDING ENVELOPE TOTAL |  |  |  |  | 0 | 0
ENERGY EFFICIENT SYSTEMS (ES)
ES 1: HEATING AND COOLING EQUIPMENT
REQUIRED AT ALL LEVELS
ES 1.0 | Size and select all HVAC equipment in accordance with ACCA Manuals J and S: |  |  | All must comply:
| 1 | Complete load calculation with accredited ACCA Manual J 8th Edition Software or current ASHRAE-based software with report stamped by a Professional Engineer |  | - | -
| 2 | Based on worst case unit orientation |  | - | -
| 3 | Use 2021 ASHRAE Handbook of Fundamentals Climate Design Information for outdoor design temperatures |  | - | -
| 4 | Indoor design temperatures: 70˚F for heating and 75˚F for cooling |  | - | -
| 5 | Base infiltration on "tight", "semi-tight" or use target air leakage |  | - | -
| 6 | Use actual conditioned floor area, U-factor, and SHGC for windows and doors, actual area and R-values of floors, walls, and ceilings |  | - | -
| 7 | Use ASHRAE 62.2-2010 whole building ventilation airflow requirements |  | - | -
| 8 | Select cooling and heating equipment using ANSI/ACCA Manual S, 3rd Edition |  | - | -
| 9 | Provide OEM data for each unique system type |  | - | -
ES 1.1 | If programmable thermostat installed for heat pump, include adaptive recovery technology |  |  | - | -
ES 1.2 | AHRI performance match all indoor/outdoor coils |  |  | - | -
ES 1.3 | Non-CFC and non-HCFC refrigerant |  |  | - | -
ES 1.4 | No electric resistant heat as primary heat source |  |  | - | -
ES 1.5 | Heat pump efficiency ≥8.8 HSPF/≥7.5 HSPF2 or equivalent COP |  |  | - | -
ES 1.6 | Furnace efficiency ≥90% AFUE. Gas systems must be sealed combustion. Combustion air intake must pull in outdoor air. |  |  | - | -
ES 1.7 | Cooling equipment ≥15 SEER/≥14.3 SEER2 or ≥12 EER |  |  | - | -
ES 1.8 | Filters are ≥ MERV 8 |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
ES 1.9 | Complete ENERGY STAR Multifamily New Construction HVAC Design Supplement - Dwellings and Units |  |  | 1
ES 1.10 | Heating equipment efficiency: |  |  | Select one:
| A. | Gas furnace(s) ≥95% AFUE |  | 2
| B. | Heat pump(s): Climate Zone 2/3/4 ≥9 HSPF/≥7.65 HSPF2 |  | 2
ES 1.11 | Verification of proper refrigerant charge with subcooling deviation ±3°F or superheat deviation ±5°F |  |  | 1
ES 1.12 | Cooling equipment ≥16 SEER/≥15.2 SEER2 |  |  | 2
OPTIONAL AT ALL LEVELS
ES 1.12 | Condenser units are spaced 2 feet apart |  |  | 2
ES 1.13 | Variable speed blower |  |  | 2
ES 1.14 | Dual-stage compressors |  |  | 2
ES 1.15 | Zone control: |  |  | Select one:
| A. | One system serves multiple zones, with dampers |  | 1
| B. | If zoned control, zoned returns or transfer grills between zones |  | 2
ES 1.16 | Heat pump efficiency >9.0 HSPF; >7.65 HSPF2 |  |  | 2
ES 1.17 | Ground-source heat pump(s) ≥17 EER |  |  | 3
ES 1.18 | ENERGY STAR qualified cooling equipment ≥17 SEER2 |  |  | 3
ES 1.19 | ENERGY STAR qualified heating equipment: |  |  | Select one:
| A. | ENERGY STAR qualified furnace(s) ≥95% AFUE |  | 3
| B. | ENERGY STAR qualified heat pump(s): ≥9.0 HSPF; >7.65 HSPF2 |  | 3
ES 1.20 | Complete ENERGY STAR Multifamily New Construction HVAC Design Supplement - Common Spaces and Central Systems |  |  | 1
ES 1.21 | Cooling equipment and/or cooling mode of heat pump equipment sizing: |  |  | Select one:
| A. | Single-Speed Equipment: 90%-115% |  | 1
| B. | Two-Speed Equipment: 90%-120% |  | 1
| C. | Variable-Speed Equipment: 90%-125% |  | 1
ES 2: DUCTWORK / AIR HANDLER
REQUIRED AT ALL LEVELS
2 | Seal air handlers and all exposed and/or accessible duct systems with mastic product(s) |  |  | - | -
2.1 | Code approved solid connector for all new flex-to-flex connections |  |  | - | -
2.2 | Fully duct all supply ductwork and transfers |  |  | - | -
2.3 | Duct insulation if new or accessible: |  |  | All must comply:
| 1 | R-8: Ducts in unconditioned space |  | - | -
| 2 | R-6: Ducts in conditioned space and interstitial space (between floors) |  | - | -
2.4 | No ducts in exterior walls or vaulted ceilings and no plenum within 2' of roofline. |  |  | - | -
2.5 | Locate all air handlers within conditioned space |  |  | - | -
2.6 | Measured pressure imbalance is ≤6 pa between bedrooms and return |  |  | - | -
ES 2.7 | Indoor coil protected until interior finishes complete (drywall, paint)
2.8 | No new duct take-offs within 6" of supply plenum cap or supply trunk cap |  |  | - | -
ES 2.9 | Two piece HVAC boot sealed at metal connection |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
ES 2.10 | Minimize pressure imbalance ≤3 pa |  |  | 3
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
ES 2.11 | Fully duct all return(s) |  |  | 5
OPTIONAL AT ALL LEVELS
ES 2.12 | Install rigid duct work or pull all flex ducts with no pinches and support at intervals ≤4’ |  |  | 2
ES 2.13 | Verify supply and return duct static pressure |  |  | 2
ES 2.14 | Measure and balance airflow for each duct run (±20% of design) |  |  | 3
ES 2.15 | Install ducts per ACCA Manual D duct design |  |  | 3
ES 2.16 | Locate HVAC equipment and all ductwork within conditioned space |  |  | 5
ES 2.17 | HVAC system and ductwork is dry and clean |  |  | 1
ES 2.18 | Duct design and installation: |  |  | Select all that apply:
| 1 | Rigid metal supply trunk line |  | 2
| 2 | Space all supply duct take-offs ≥6” apart |  | 1
| 3 | Install rigid circular duct as supply plenum |  | 2
ES 2.19 | Duct insulation in unconditioned spaces ≥R-10 |  |  | 1
ES 2.20 | Return plenum duct take-off free area is 120% of supply plenum duct take-off free area |  |  | 2
ES 2.21 | Ductless HVAC equipment: |  |  | Select all that apply:
| 1 | All studio style residential units |  | 2
| 2 | All residential units with 1 or more bedrooms |  | 3
ES 3: DUCT LEAKAGE TEST RESULTS
REQUIRED AT ALL LEVELS
3 | Test duct leakage based on conditioned floor area (CFA): |  |  | All must comply:
| 1 | Leakage to outside ≤6% |  | - | -
| 2 | Total leakage ≤6% |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
3.1 | Test duct leakage based on conditioned floor area (CFA): |  |  | All must comply:
| 1 | Leakage to outside ≤4% |  | 8
| 2 | Total leakage ≤4% |  | 8
OPTIONAL AT ALL LEVELS
ES 3.2 | Test duct leakage based on conditioned floor area (CFA): Leakage to outside ≤3% |  |  | 10
ES 4: VENTILATION
REQUIRED AT ALL LEVELS
ES 4.0 | Design and install a whole-unit ventilation system that is based on ASHRAE 62.2-2010 ventilation airflow requirements and the following: |  |  | All must comply:
| A. | Equipment selected may only be a supply/positive pressure or balanced pressure system |  | - | -
| B. | Include total design ventilation airflow in HVAC load calculations |  | - | -
| C. | System must filter outdoor air with MERV ≥6 filter |  | - | -
ES 4.1 | When installed, fresh air intakes must achieve the following standards: |  |  | All must comply:
| 1 | ≥10' away from exhaust outlets , vehicle idling zones, parking garages |  | - | -
| 2 | When run to soffit the duct must be extended and affixed through soffit vent |  | - | -
| 3 | Fresh air duct may not be run to the roof |  | - | -
| 4 | Fresh air shutoff may not be controlled by humidistat |  | - | -
| 5 | Install round metal duct material with insulation |  | - | -
| 6 | All intakes must be ducted to exterior of building |  | - | -
ES 4.2 | Seal seams of all intake and exhaust ducts with mastic |  |  | - | -
ES 4.3 | Install ASHRAE compliant exhaust fans rated at ≥50 cfm in all bathrooms and duct to outside |  |  | - | -
ES 4.4 | Gas kitchen range and/or cooktop vented to exterior with ASHRAE compliant ≥100 cfm fan |  |  | - | -
ES 4.5 | Back-draft dampers for kitchen and bathroom exhaust |  |  | - | -
ES 4.6 | ENERGY STAR certified bathroom exhaust fans
ES 4.7 | Duct clothes dryers to outside |  |  | - | -
ES 4.8 | No power roof vents |  |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
ES 4.9 | ENERGY STAR qualified ceiling fans |  |  | 1
ES 4.10 | ENERGY STAR bath fans with field verified, measured airflow ≥50 cfm |  |  | 2
4.11 | Electric kitchen range vented to exterior ≥100 cfm fan |  |  | 3
4.12 | Verify outdoor air supply ventilation airflow test within 20% of design values |  |  | 2
4.13 | Install and label accessible ventilation controls, with override controls for continuously operating ventilation fans |  |  | 1
4.14 | Bathroom exhaust fans rated: ≤2 sones |  |  | 1
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
4.15 | Exhaust fan wired with light in bathroom |  |  | 1
ES 4.16 | Replace existing bath fan ductwork with round metal duct material that is insulated ≥R-6 |  |  | 2
OPTIONAL AT ALL LEVELS
ES 4.17 | Radon construction: |  |  | Select all that apply:
| 1 | Passive, radon/soil gas vent system labeled on each floor |  | 2
| 2 | Radon test of building prior to occupancy |  | 1
ES 4.18 | Bathroom exhaust fan ductwork size |  |  | Select One:
| A. | 4 inch ductwork (100%) |  | 1
| B. | ≥ 6 inch ductwork (100%) |  | 2
ES 4.19 | Bathroom exhaust fans rated: ≤1 sones |  |  | 2
ES 4.20 | Automatic bathroom exhaust fan controls with humidistat or timer |  |  | 2
ES 4.21 | Energy recovery ventilator for whole-unit ventilation strategy |  |  | 3
ES 4.22 | Dehumidifying ventilation system for whole-unit ventilation strategy |  |  | 5
ES 4.23 | Vent storage room(s) to outside |  |  | 1
ES 5: WATER HEATER
REQUIRED AT ALL LEVELS
ES 5.0 | No atmospherically vented gas water heaters |  |  | − | −
ES 5.1 | Heat trap on all storage water heaters |  |  | - | -
ES 5.2 | Water heater efficiencies*: |  |  | - | -
*Gas water heaters must be direct vent, sealed combustion appliances
OPTIONAL AT ALL LEVELS
ES 5.3 | High efficiency water heater Energy Factor (EF and UEF): |  |  | 2
ES 5.4 | Tankless gas water heater: ≥0.95 UEF |  |  | 3
ES 5.5 | High Efficiency water heater: |  |  | Select one:
| A. | Solar domestic (≥40% annual load based on unit demand) |  | 4
| B. | ENERGY STAR qualified heat pump water heater ≥3.0 UEF |  | 4
ES 5.6 | Hot water pipe insulation ≥R-4 (100%) |  |  | 2
ES 6: LIGHTING/APPLIANCES
REQUIRED AT ALL LEVELS
6 | High-efficacy lighting in ≥90% of all permanent fixtures |  |  | - | -
6.1 | If installed, ENERGY STAR dishwasher (in residential units and common areas) |  |  | - | -
6.2 | If installed, ENERGY STAR refrigerator (in residential units and common areas) |  |  | - | -
ES 6.3 | If installed, ENERGY STAR clothes washer and dryer kit (in residential units and/or communal laundry facility) |  |  | - | -
OPTIONAL AT ALL LEVELS
ES 6.4 | Residential unit automatic lighting control systems: |  |  | Select all that apply:
| 1 | Light fixture(s) in closets operated by motion sensor or timer |  | 1
| 2 | Light fixture(s) on patios operated by motion sensor, sunlight sensor, or timer |  | 1
| 3 | Light fixture(s) at front/primary exterior door operated by sunlight sensor or timer |  | 1
ES 6.5 | Fixtures and bulbs: |  |  | Select one:
| A. | ENERGY STAR qualified LED bulbs in all permanently installed fixtures (100%) |  | 2
| B, | LED bulbs in all permanently installed fixtures (100%) |  | 1
ES 7: COMMON AREA LIGHTING/APPLIANCES
OPTIONAL AT ALL LEVELS
ES 7.0 | Common area automatic lighting control systems: |  |  | Select all that apply:
| 1 | Light fixture(s) in stairwells operated by motion sensor or timer |  | 1
| 2 | Light fixture(s) in common areas operated by motion sensor or timer |  | 1
| 3 | Light fixture(s) in mechanical rooms and maintenance closets operated by motion sensor or timer |  | 1
| 4 | Outdoor lighting operated by sunlight sensor or timer |  | 1
ES 7.1 | Common area fixtures and bulbs: |  |  | Select one:
| A. | ENERGY STAR qualified LED bulbs in all permanently installed fixtures (100%) |  | 2
| B. | LED bulbs in all permanently installed fixtures (100%) |  | 1
ES 7.2 | High Efficiency Exterior Lighting: |  |  | Select all that apply:
| 1 | Design to Reach IES guidelines: Lighting For Exterior Environments |  | 2
| 2 | 50% reduction through Advanced Energy Design Guide (ASHRAE/IES) |  | 2
| 3 | High efficiency exterior lighting: 100% fluorescent and/or LED bulbs |  | 2
ES 7.3 | High efficiency elevators |  |  | 2
ENERGY EFFICIENT SYSTEMS TOTAL |  |  |  |  | 0 | 0
WATER EFFICIENCY (WE)
WE 1: INDOOR WATER USE
REQUIRED AT ALL LEVELS
1 | Unit water pressure ≤60 psi |  |  | - | -
1.1 | Meet National Energy Policy Act low flow standards for all fixtures |  |  | - | -
1.2 | Detect no leaks at any water-using fixture, appliance or equipment |  |  | - | -
1.3 | EPA WaterSense Low-flow fixtures (residential units and common facilities): |  |  | All must comply:
| 1 | Toilet (≤1.28 avg. gal/flush) |  | - | -
| 2 | Lavatory faucet and accessories (≤1.5 gpm at 60 psi) |  | - | -
| 3 | Showerheads (≤1.75 gpm) |  | - | -
| 4 | Water-based urinals (≤0.5 gal/flush) |  | - | -
1.4 | Insulate hot water pipe to ≥R-3 for all piping located in unconditioned space |  |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
1.5 | If installed, water treatment system NSF certified, ≥85% efficient |  |  | 2
1.6 | If installed, water softeners certified to NSF/ANSI Standard 44 |  |  | 2
1.7 | Store ≤0.5 gal of water between water heater and fixture |  |  | 2
1.8 | EPA WaterSense labeled fixtures (units and common facilities): |  |  | Select all that apply:
| 1 | Toilet (≤1.1 avg. gal/flush) |  | 1
| 2 | Lavatory faucet/accessories/aerator (≤1.0 gpm at 60 psi) |  | 1
| 3 | Showerheads (≤ 1.5 gpm) |  | 1
| 4 | Kitchen faucets (≤1.0 gpm at 60 psi) |  | 1
OPTIONAL AT ALL LEVELS
WE 1.9 | Waterless urinals in common areas, all fixtures |  |  | 2
WE 1.10 | Greywater system for toilet flushing |  |  | 4
WE 1.11 | Rainwater harvest system for toilet flushing |  |  | 4
WE 1.12 | Hot water demand ≤0.13 gal of water between loop and fixture and ≤2 gal of water in loop between water heater and furthest fixture |  |  | 2
WE 1.13 | Pipe Insulation: |  |  | Select all that apply:
| 1 | All hot water pipes (located in conditioned and unconditioned space) ≥R-3 |  | 2
| 2 | Cold water pipes located in unconditioned space ≥R-3 |  | 1
WE 1.14 | Install leak detection sensors at kitchens, bathroom(s), and laundry in all residential units, or leak monitoring system at main water line to each residential unit. |  |  | 4
WE 2: OUTDOOR WATER USE
REQUIRED AT ALL LEVELS
2 | Cover all exposed soil with 2"-3" mulch layer |  |  | - | -
2.1 | Irrigation system: |  |  | All must comply:
| 1 | Must have rain sensor shutoff switch |  | - | -
| 2 | Provide operating manual to property management |  | - | -
| 3 | Provide irrigation system layout to property management |  | - | -
2.2 | If installed, ornamental water features must recirculate water and serve beneficial use |  |  | - | -
WE 2.3 | Install plants to maintain distance ≥2' from home at maturity |  |  | - | -
REQUIRED AT PLATINUM, OPTIONAL AT GOLD AND CERTIFIED
WE 2.4 | Landscape design: |  |  | Select one:
| A. | Use WaterSense water budget tool to design landscape (https://www.epa.gov/watersense/water-budget-tool) |  | 3
| B. | Turf ≤40% of landscaped area |  | 2
WE 2.5 | Vegetate slopes exceeding 25% |  |  | 1
WE 2.6 | If installed, irrigation system is: (Maximum 4 points) |  |  | Select all that apply:
| 1 | Design, install and audit irrigation system through WaterSense Irrigation Partner, with no leaks |  | 2
| 2 | Micro-irrigation system (e.g., drip irrigation) includes pressure regulator, filter and flush end assemblies |  | 2
| 3 | Distribution uniformity ≥65% lower quarter |  | 2
| 4 | Install sprinklers only on turfgrass, pop-up height ≥4" |  | 1
| 5 | Establish grow-in phase and post landscape seasonal water schedules at irrigation controller |  | 2
WE 2.7 | Drought-tolerant/native landscaping turf and plants |  |  | 1
OPTIONAL AT ALL LEVELS
WE 2.8 | Test and amend soil |  |  | 1
WE 2.9 | Irrigation: (Maximum 5 points) |  |  | Select all that apply:
| 1 | Greywater irrigation system |  | 3
| 2 | Rainwater irrigation system |  | 3
| 3 | Zone irrigation system for specific water needs in each planting area |  | 2
| 4 | Provide weather station or soil moisture sensor on irrigation system |  | 2
WE 2.10 | Timer on exterior water spigots |  |  | 1
WATER EFFICIENCY TOTAL |  |  |  |  | 0 | 0
EDUCATION AND OPERATIONS (EO)
EO 1: EDUCATION
REQUIRED AT ALL LEVELS
1 | Provide property manager with project-specific owner's manual |  |  | - | -
1.1 | Label all storm drain or storm inlets to discourage dumping of pollutants |  |  | - | -
OPTIONAL AT ALL LEVELS
1.2 | Local recycling contact |  |  | 1
1.3 | Household hazardous waste resources |  |  | 1
EO 2: OPERATIONS AND MANAGEMENT
REQUIRED AT ALL LEVELS
EO 2.0 | Provide all subcontractors with EarthCraft Multifamily Renovation worksheet |  |  | - | -
OPTIONAL AT ALL LEVELS
E0 2.1 | Market EarthCraft Multifamily program |  |  | 1
E0 2.2 | EarthCraft HVAC training to contractor provided prior to start of project |  |  | 2
E0 2.3 | EarthCraft resources provided to leasing office, included on property website |  |  | 2
EO 2.4 | EarthCraft training provided to property management prior to completion of certification |  |  | 2
E0 2.5 | Environmentally friendly cleaning package for ongoing building maintenance |  |  | 1
E0 2.6 | Environmental management and building maintenance guidelines for staff |  |  | 1
E0 2.7 | Community Recycling Facility |  |  | 2
E0 2.8 | Builder QA Plan |  |  | 1
EO 3: THIRD PARTY PROGRAMS
OPTIONAL AT ALL LEVELS
3 | Achieve ENERGY STAR Multifamily Certification |  |  | 2
3.1 | Achieve ENERGY STAR Zero Energy Ready Certification |  |  | 5
EO 3.2 | Achieve Indoor airPLUS certification |  |  | 2
EO 3.3 | Achieve WaterSense New Homes certification |  |  | 1
EO 3.4 | Enroll in BIT Building program for property operations and maintenance for minimum one year |  |  | 2
EO 3.5 | Achieve EarthCraft Light Commercial certification for separate Community Center building |  |  | 3
EDUCATION AND OPERATIONS TOTAL |  |  |  |  | 0 | 0
INNOVATION (INV)
OPTIONAL AT ALL LEVELS
1 | On-site fuel cell or co-generation system |  |  | 4
1.1 | Solar electric system (10% of project requirements) |  |  | 5
1.2 | Common areas use solar electric system (80% of demand) |  |  | 4
IN 1.4 | Housing Affordability: |  |  | Select one:
| A. | ≥20% total units |  | 1
| B. | ≥50% total units |  | 2
IN 1.5 | Developer submits 12 months of pre-renovation energy data |  |  | 5
IN 1.6 | Project specific innovation points: builder submits specifications for innovative products or design features to EarthCraft prior to construction completion |  |  | TBD
INNOVATION TOTAL |  |  |  |  | 0 | 0
WORKSHEET TOTAL |  |  |  |  | 0 | 0
CERTIFICATION LEVEL |  |  |  |  | Not Certified

## Additions Checklist
|  |  | Points | Planned | Status | Documentation | Notes
RENOVATIONS WITH ADDITIONS SUPPLEMENT
Renovation projects with new construction additions must use this check list in addition to the project Worksheet tab for all requirements at the Certified, Gold and/or Platinum levels. Additions must meet the applicable minimum requirements from the Worksheet tab. Projects must also comply with all additions requirements of this Supplement where applicable. Points taken for measures in the project Worksheet tab must also be installed/implemented in additions.
RESOURCE EFFICIENCY (RE)
RE 1: RESOURCE EFFICIENT DESIGN
REQUIRED AT ALL LEVELS
RE 1.0 | Limit framing at all windows and doors |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
RE 1.1 | Advanced Framing: |  | Select all that apply:
| 1 | 2-stud corners where structurally feasible | 3
| 2 | Ladder T-walls where structurally feasible | 2
| 3 | Size headers for loads (non-structural headers in non-load bearing walls) | 1
OPTIONAL AT ALL LEVELS
RE 1.2 | Average floor area of unit: |  | Select one:
| A. | < 800 square feet | 2
| B. | 800-1100 square feet | 1
RE 1.3 | Floor joists are 24" on center (≥80%) |  | 1
RE 1.4 | Non-load bearing wall studs are 24" on center |  | 1
RE 2: ADVANCED FRAMING PRODUCTS
OPTIONAL AT ALL LEVELS
2 | Precast insulated foundation walls (≥90%) |  | 2
2.1 | Insulated concrete forms or precast autoclaved aerated concrete (≥90%): |  | Select all that apply:
| 1 | Foundation walls | 2
| 2 | Exterior walls | 3
2.2 | Engineered wall framing (≥90%) |  | 1
2.3 | Deliver panelized construction or SIPs to the site pre-framed (≥90%): |  | Select all that apply:
| 1 | Floors | 2
| 2 | Exterior walls | 2
| 3 | Roof | 2
RE 2.4 | All new residences are modular construction |  | 5
RE 2.5 | Structural headers are steel or engineered wood (≥90%) |  | 2
RE 3: LOCAL, RECYCLED AND/OR NATURAL CONTENT MATERIALS
OPTIONAL AT ALL LEVELS
RE 3.0 | Use recycled concrete or alternate material as aggregate in foundation |  | 1
RE 3.1 | Replace ≥25% of cement in concrete with fly ash or slag: |  | Select all that apply:
| 1 | Slab and/or foundation walls (100%) | 1
| 2 | Exterior cladding and trim (≥75%) | 1
DURABILITY AND MOISTURE MANAGEMENT (DU)
DU 1: DURABILITY AND MOISTURE MANAGEMENT
REQUIRED AT ALL LEVELS
1 | All roof valleys direct water away from walls, dormers, chimneys, etc. |  | - | -
OPTIONAL AT ALL LEVELS
DU 1.1 | Install termite mesh system |  | 3
DU 1.2 | All entrance doors have overhang ≥3' depth |  | 1
DU 2: MOISTURE MANAGEMENT
REQUIRED AT ALL LEVELS
2 | Gravel bed beneath sub-grade slabs, on grade slabs, or raised slabs |  | - | -
2.1 | 100% coverage of ≥6mil vapor barrier beneath all slabs |  | - | -
2.2 | Foundation drain on top of sub-grade footing |  | - | -
2.3 | Patio slabs, walks and driveways sloped ≥1/4” per 1’ away from building for ≥10’ or to the edge of the surface, whichever is less |  | - | -
2.4 | Final site grade sloped ≥1/2“ per 1’ away from building for ≥10’ or to the edge of the site, whichever is less |  | - | -
2.5 | Capillary break between foundation and framing at exterior walls |  | - | -
2.6 | Drainage board and damp proofing for below-grade walls |  | - | -
2.7 | Do not install wet or water-damaged building materials |  | - | -
DU 2.8 | Vapor barriers installed only under slab(s) and/or in crawlspace(s) |  | - | -
REQUIRED AT PLATINUM AND GOLD, OPTIONAL AT CERTIFIED
DU 2.9 | Foundation drain at outside perimeter edge of footing surrounded with 6" clean gravel and fabric filter |  | 2
OPTIONAL AT ALL LEVELS
DU 2.10 | Capillary break: |  | Select all that apply:
| 1 | Between footing and foundation | 2
| 2 | Between foundation and framing for all walls | 2
ENERGY EFFICIENT SYSTEMS (ES)
ES 2: DUCTWORK / AIR HANDLER
REQUIRED AT ALL LEVELS
2 | Seal all new air handlers and newly installed duct systems with mastic product(s) |  | - | -
2.1 | Code approved solid connector for all flex-to-flex connections |  | - | -
ES 3: DUCT LEAKAGE TEST RESULTS
REQUIRED AT ALL LEVELS FOR NEW DUCTWORK SYSTEMS
ES 3.0 | Test duct leakage on new HVAC systems (equipment and ductwork) based on floor area served: |  | All must comply:
| 1 | Leakage to outside ≤3% | - | -
| 2 | Total leakage ≤6% at final | - | -
REQUIRED AT PLATINUM, OPTIONAL AT CERTIFIED & GOLD FOR NEW DUCTWORK SYSTEMS
ES 3.1 | Test duct leakage based on floor area served: |  | All must comply:
| 1 | Leakage to outside ≤2% | 5
| 2 | Total leakage ≤4% | 5
Additions Checklist Totals |  |  |  | 0 | 0

## Diagnostic Testing Results
Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes:
Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number:
New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number:
Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2):
Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2):
Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3):
Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date:
Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date:
Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type
ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM:
Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point
Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point
Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2
Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3
Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen
Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply
Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced
Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2
Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3
Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4
Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5
Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes:
Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number:
New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number:
Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2):
Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2):
Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3):
Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date:
Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date:
Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type
ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM:
Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point
Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point
Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2
Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3
Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen
Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply
Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced
Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2
Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3
Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4
Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5
Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes:
Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number:
New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number:
Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2):
Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2):
Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3):
Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date:
Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date:
Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type
ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM:
Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point
Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point
Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2
Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3
Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen
Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply
Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced
Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2
Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3
Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4
Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5
Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes: |  | Building: |  | Notes:
Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number: |  |  |  | Unit Number:
New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number: |  |  |  | New Unit Number:
Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2): |  |  |  | Floor Area (ft2):
Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2): |  |  |  | Envelope Area (ft2):
Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3): |  |  |  | Volume (ft3):
Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date: |  |  |  | Test In Date:
Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date: |  |  |  | Test Out Date:
Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results: |  |  |  | Pre-Renovation Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results: |  |  |  | Final Inspection Test Results:
Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR | Envelope Leakage |  | ACH50 | ELR
Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0! | Test Type: |  | #DIV/0! | #DIV/0!
CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50: |  |  |  | CFM50:
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage |  | HVAC Leakage |  | Percent Total Leakage
Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0! |  | Total Leakage CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
|  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside |  |  |  | Percent Leakage to Outside
Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0! |  | Leakage to Outside CFM25: |  | #DIV/0!
| Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0! |  |  | Percent Reduction: | #DIV/0!
ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type |  |  |  | ASHRAE Whole Building Ventilation Type
ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM: |  |  |  | ASHRAE 62.2-2010 Ventilation CFM:
Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point |  | Exhaust Fan CFM |  | Single-point
Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point |  | Bathroom # 1 |  | Multi-point
Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2 |  |  |  | Bathroom # 2
Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3 |  |  |  | Bathroom # 3
Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen |  |  |  | Kitchen
Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply |  | Room Pressures |  | Supply
Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced |  | Room # 1 |  | Balanced
Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2 |  |  |  | Room # 2
Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3 |  |  |  | Room # 3
Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4 |  |  |  | Room # 4
Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5 |  |  |  | Room # 5
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V139: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on B147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on G147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on L147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on Q147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.
Note on V147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If a single-point envelope leakage test is used, enter in the adjusted CFM50 per ANSI 380.